- The panel holder has a nice platform for solar panel, although demonstrated with a wood.

- At the base of the mechanical parts has a manual adjustment for positioning the panel for proper exposure to the sun.

- The panel holder is attached to the two pivoted metal inclined at angle 60 degree to allow the panel holder to turn from east to west.

- To some distance below the spherical metal pipe stand, attached 24v actuator jack (made from super jack Satellite Company used in satellite TV dish) for automatic polar adjustment for east and west direction.

- The jack when powered from the controller, pushing outward, turns the panel holder west ward in clockwise movement of the motor at expertly 12:43pm.

- Then to the eastward by the direction of the controller and anticlockwise movement of the motor inside the actuator at expertly 6:43pm in accordance with the NASA time calculator for Nigeria. All the movement manipulation is done by microcontroller in accordance to the timing sequence.

The type of motor used:

- 24v-36v d.c actuator jack from super jack Satellite Company used in polar adjustment for satellite dish in TV satellite technology.

- The motor has a real switch that serve as a limiter (stopper) so that the outward movement and the inward movement can be limited by setting the real switch.